CSI PART  1  General

1.1 	SECTION INCLUDES

A.	Peel and stick weather barriers.

B.	Synthetic roofing underlayment.

1.2 	RELATED SECTIONS

A.	Section 06100 -  Rough Carpentry: Roof framing and sheathing.

B.	Section 07310 -  Shingles, Roof Tiles and Roof Coverings: Roof coverings applied over underlayment.

C.	Section 07620 - Flashing and Sheet Metal:  Gutters and downspouts.

D.	Section 08630 - Unit Skylights:  Skylights.

1.3 	REFERENCES

A.	ASTM International (ASTM):

1.	ASTM D226 - Standard Specification for Asphalt-Saturated Organic Felt Used in Roofing and Waterproofing.

2.	ASTM D751 - Standard Test Methods for Coated Fabrics.

3.	ASTM D903 - Standard Test Method for Peel or Stripping Strength of Adhesive Bonds.

4.	ASTM D1777 - Standard Test Method for Thickness of Textile Materials.

5.	ASTM D1970 - Standard Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection.

6.	ASTM D2261 -  Standard Test Method for Tearing Strength of Fabrics by the Tongue (Single Rip) Procedure (Constant-Rate-of-Extension Tensile Testing Machine).

7.	ASTM D2523 Standard Practice for Testing Load-Strain Properties of Roofing Membranes; 2000.

8.	ASTM D4869 - Standard Specification for Asphalt-Saturated Organic Felt Underlayment Used in Steep Slope Roofing.

9.	ASTM D5147 - Standard Test Methods for Sampling and Testing Modified Bituminous Sheet Material.

10.	ASTM D5261 - Standard Test Method for Measuring Mass per Unit Area of Geotextiles.

11.	ASTM E96 - Standard Test Methods for Water Vapor Transmission of Materials.

12.	ASTM E108 - Standard Test Methods for Fire Tests of Roof Coverings.

B.	National Roofing Contractors Association (NRCA): Steep Slope Roofing and Waterproofing Manual.

C.	International Code Council (ICC): AC 48 - Acceptance Criteria For Roof Underlayment For Use In Severe Climate Areas.

D.	UL 790 - Tests for Fire Resistance of Roof Covering Materials.

E.	UL 997 - Wind Resistance of Prepared Roof Covering Materials.

1.4 	SUBMITTALS

A.	Submit under provisions of Section 01300.

B.	Product Data:  Manufacturer’s data sheets on each product to be used, including:

1.	Preparation instructions and recommendations.

2.	Storage and handling requirements and recommendations.

3.	Installation methods.

C.	Shop Drawings: Submit copies of manufacturer’s standard details describing installation methods and flashing conditions applicable to the project.

D.	Selection Samples:  For each finish product specified, two samples representing manufacturer’s full range of available colors, patterns, and materials.

E.	Verification Samples:  For each finish product specified, two samples, minimum size 6 inches (150 mm) square representing actual product, color, and patterns.

1.5 	QUALITY ASSURANCE

A.	Manufacturer Qualifications:   All primary products specified in this section will be provided by a single manufacturer with a minimum of ten (10) years experience.

B.	Installer Qualifications: All products listed in this section are to be installed by a single installer with a minimum of five (5) years demonstrated experience in installing products of the same type and scope as specified.

C.	Mock-Up:  Provide a mock-up for evaluation of surface preparation techniques and application workmanship.

1.	Finish areas designated by Architect.

2.	Do not proceed with remaining work until workmanship, color, and sheen are approved by Architect.

3.	Refinish mock-up area as required to produce acceptable work.

1.6 	DELIVERY, STORAGE, AND HANDLING

A.	Store products in manufacturer’s unopened packaging until ready for installation.

B.	Store and dispose of solvent-based materials, and materials used with solvent-based materials, in accordance with requirements of local authorities having jurisdiction.

1.7 	PROJECT CONDITIONS

A.	Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.  Do not install products under environmental conditions outside manufacturer’s absolute limits.

1.8 	WARRANTY

A.	At project closeout, provide to the owner or owners representative an executed copy of the manufacturer’s Limited Warranty against Manufacturing Defect.

1.	Titanium PSU30 Warranty Duration: Limited Lifetime.

2.	Titanium UDL25  Warranty Duration:  Limited Lifetime.

3.	Titanium UDL30 Warranty Duration: Limited Lifetime.

4.	Titanium UDL50 Warranty Duration: Limited Lifetime.

5.   RhinoRoof U10 Warranty Duration: 10 Years.

6.   RhinoRoof U20 Warranty Duration: 20 Years.

7.	 RhinoRoof RSA Warranty Duration: 25 Years.

CSI PART  2  Products

2.1 	MANUFACTURERS

A.	Acceptable Manufacturer: InterWrap Inc., which is located at: 7163 Beatty Drive  ; Mission, BC, Canada V2V 6C4; Toll Free Tel: 800-567-9727; Tel: 1-778-945-2888; Email: request info (dgagnier@interwrap.com);

Web: www.interwrap.com/Roofing/

B.	Substitutions:	Not permitted.

C.	Requests for substitutions will be considered in accordance with provisions of Section 01600.

2.2 	APPLICATION / SCOPE

A.	Provide a temporary moisture resistant barrier over installed sloped roof decks equal to or greater than 2:12 pitch to “Dry-In” the structure and allow trades to work beneath.  Finished roofing material must be installed over products specified in this section within:

(30) days for RhinoRoof U10

(60) days for RhinoRoof U20

(90) days for RhinoRoof RSA

(180) days for Titanium UDL25, UDL30, UDL50 and PSU30

B.	Provide a secondary air, water, vapor  barrier beneath finished sloped roof surfaces to assist in preventing moisture infiltration.

2.3 	ROOF UNDERLAYMENT

A.	Water Barrier Membrane High Temperature/Low Temperature and Ice Damming Membrane - Titanium PSU30:	Synthetic polymer surfaced self-adhered membrane roofing underlayment for sloped roofs equal to or greater than 2:12 pitch, subject to the effects of ice damming and wind driven rain.

1.	Color: Gray.

2.	Surface:  Synthetic Polymer - Patented Sure-Foot® slip resistant Nodular.

3.	Release Liner:  Silicone Treated, Poly Split Release.

4.	Weight per square:  24 lbs / (10.8 kg).

5.	Minimum Thickness:  ASTM D5147, 45 Mil (1.1 mm).

6.	Tensile:  ASTM D1970, MD 100 lbs/in/ (17.5 kN/m)

7.	Thermal Stability:  ASTM D1970, 240 degrees F (115 degrees C) Pass.

8.	Low Temp Flexibility:  ICC AC 48, Pass.

9.	Tear Resistance:  ASTM D1970, MD 140/ CD 100 lbf (622/445 N).

10.	Adhesion to Plywood:  ASTM D903, 4 lb/in (700 N/m).

11.	Nail Sealability:  ASTM D1970, Pass.

12.	Temperature Service Range: 240° F to -40° F ( 115° to -40° C)

- Installation temperature range: 40° F (5° C) and above

13.	Roll Size: 36 inches by 72 feet (914mm x 21945mm), 2.16 Sq.(20 sm).

B.	Synthetic Roofing Underlayment - Titanium UDL25 :  Polyolefin based, asphalt free, high strength, reinforced roofing underlayment mechanically attached to sloped roof decks beneath shingles, shakes, metal, and composite roofing to prevent leaks caused by wind driven rain and primary roofing breach.

1.	ICC Approved alternate to ASTM D 226 Type I (#15) or Type II (#30) felt. (ES ER-6043)

2.	Fire Performance:  Class A Fire ASTM E108, Pass.

3.	Nail Sealability:  ASTM D1970, Pass.

4.	Permeability: ASTM E96, 0.06 perms.

5.	Water Transmission: ASTM D4869, Pass.

6.	Tear Strength: ASTM D4533, MD 31 lbs. (14 kg)

7.	Tensile Strength: ASTM D751, MD 135 lbs. (61 kg)

8.	Burst Strength: ASTM D751, 220 psi (1517 kPa).

9.	Elongation: ASTM D751, MD 17% CD 20%.

10.	Weight per Square: ASTM D5261,  2.4lbs ( 1.1 kgs).

11.	Minimum Thickness: ASTM D1777, 15 mils (0.38 mm).

12.	Temperature Service Range:  240° F to -40° F ( 115° to -40° C).

13.	Roll Size: 48 inches by 250 feet (1219mm x 76200mm), 10 Sq. (92.9 sm).

C.	Synthetic Roofing Underlayment - Titanium UDL30:  Polyolefin based, asphalt free, high strength, reinforced roofing underlayment mechanically attached to sloped roof decks beneath shingles, shakes, slate, tile, metal, and composite roofing to prevent leaks caused by wind driven rain and primary roofing breach.

1.	ICC Approved alternate to ASTM D 226 Type I (#15) or Type II (#30) felt. (ES ER-6043).

2.	Fire Performance:  Class A Fire ASTM E108, Pass.

3.	Nail Sealability:  ASTM D1970, Pass.

4.	Permeability:  ASTM E96, 0.06 perms.

5.	Water Transmission:  ASTM D4869, Pass.

6.	Tear Strength:  ASTM D2261, MD 44 lbs. (20 kg)

7.	Tensile Strength:  ASTM D751, MD 143 lbs. (65 kg)

8.	Burst Strength:  ASTM D751, 250 psi (1720 kPa).

9.	Elongation:  ASTM D751, MD 18% CD18%.

10.	Weight per Square:  ASTM D5261, 4.0 lbs. (1.82 kgs).

11.	Minimum Thickness:  ASTM D1777, 25 mils (0.63 mm).

12.	Temperature Service Range: 240° F to -40° F ( 115° to -40° C).

13.	Roll Size: 48 inches by 250 feet (1219mm x 76200mm), 10 Sq. (92.9 sm).

D.	Synthetic Roofing Underlayment - Titanium UDL50:  Polyolefin based, asphalt free, high strength, reinforced roofing underlayment mechanically attached to sloped roof decks beneath shingles, shakes, slate, tile, metal, and composite roofing to prevent leaks caused by wind driven rain and primary roofing breach.

1.	ICC Approved alternate to ASTM D 226 Type I (#15) or Type II (#30) felt. (ES ER-6043).

2.	Performance:  Class A Fire ASTM E108, Pass.

3.	Nail Sealability:  ASTM D1970, Pass.

4.	Permeability:  ASTM E96, 0.05 perms.

5.	Water Transmission:  ASTM D4869, Pass.

6.	Tear Strength:  ASTM D226, MD 55 lbs. (25 kg)

7.	Tensile Strength:  ASTM D751, MD 178 lbs. (81 kg)

8.	Burst Strength:  ASTM D751, 300 psi (2065 kPa).

9.	Elongation:  ASTM D751, MD 20% CD 20%.

10.	Weight per Square:  ASTM D5261, 4.7 lbs. (2.13 kgs).

11.	Minimum Thickness:  ASTM D1777, 30 mils (0.75 mm).

12.	Temperature Service Range:  240° F to -40° F ( 115° to -40° C).

13.	Roll Size: 48 inches by 250 feet (1219mm x 76200mm), 10 Sq. (92.9 sm).

E.	Synthetic Roofing Underlayment - RhinoRoof U10:  Polyolefin based, asphalt free, high strength, reinforced roofing underlayment mechanically attached to sloped roof decks beneath shingle roofing to prevent leaks caused by wind driven rain and primary roofing breach.

1.	ICC Approved alternate to ASTM D 226 Type I (#15) or Type II (#30) felt. (ES ER-6043).

2.	Performance:  Class A Fire ASTM E108, Pass.

3.	Permeability:  ASTM E96, 0.05 perms.

4.	Water Transmission:  ASTM D4869, Pass.

5.	Tear Strength:  ASTM D226, MD 26 lbs. (12 kg)

6.	Tensile Strength:  ASTM D751, MD 84 lbs. (38 kg)

7.	Burst Strength:  ASTM D751, 130 psi (897 kPa).

8.	Elongation:  ASTM D751, MD 20% CD 20%.

9.	Weight per Square:  ASTM D5261, 1.9 lbs. (0.86 kgs).

10.	Minimum Thickness:  ASTM D1777, 6.5 mils (0.17 mm).

11.	Temperature Service Range:  240° F to -40° F ( 115° to -40° C).

12.	Roll Size: 42 inches by 286 feet (1,067mm x 87,170mm), 10 Sq. (92.9 sm).

F.	Synthetic Roofing Underlayment - RhinoRoof U20:  Polyolefin based, asphalt free, high strength, reinforced roofing underlayment mechanically attached to sloped roof decks beneath shingles, shakes, metal, and composite roofing to prevent leaks caused by wind driven rain and primary roofing breach.

1.	ICC Approved alternate to ASTM D 226 Type I (#15) or Type II (#30) felt. (ES ER-6043).

2.	Performance:  Class A Fire ASTM E108, Pass.

3.	Permeability:  ASTM E96, 0.05 perms.

4.	Water Transmission:  ASTM D4869, Pass.

5.	Tear Strength:  ASTM D226, MD 33 lbs. (15 kg)

6.	Tensile Strength:  ASTM D751, MD 88 lbs. (40 kg)

7.	Burst Strength:  ASTM D751, 158 psi (1089 kPa).

8.	Elongation:  ASTM D751, MD 20% CD 20%.

9.	Weight per Square:  ASTM D5261, 2.25 lbs. (1.02 kgs).

10.	Minimum Thickness:  ASTM D1777, 7 mils (0.18 mm).

11.	Temperature Service Range:  240° F to -40° F ( 115° to -40° C).

12.	Roll Size: 42 inches by 286 feet (1,067mm x 87,170mm), 10 Sq. (92.9 sm).

G.	Water Barrier Membrane High Temperature/Low Temperature and Ice Damming Membrane - RhinoRoof RSA:	Synthetic polymer surfaced self-adhered membrane roofing underlayment for sloped roofs equal to or greater than 2:12 pitch, subject to the effects of ice damming and wind driven rain.

1.	Color: Dark Gray.

2.	Surface:  Textured fiber-grip slip resistant.

3.	Release Liner:  Silicone Treated, Poly Split Release.

4.	Weight per square:  22 lbs / (10 kg).

5.	Nominal Thickness:  ASTM DD1777, 40 Mil (1.0 mm).

6.	Tensile:  ASTM D1970, MD 45 lbs/in (7.9 kN/m)

7.	Thermal Stability:  ASTM D1970, 240 degrees F (115 degrees C) Pass.

8.	Low Temp Flexibility:  ASTM D1970, Pass.

9.	Tear Resistance:  ASTM D1970, MD 55/ CD 32 lbf (245/205 N).

10.	Adhesion to Plywood:  Min 5 lb/in (0.9 kN/m).

11.	Nail Sealability:  ASTM D1970, Pass.

12.	Temperature Service Range: 240° F to -40° F ( 115° to 40° C)

- Installation temperature range: 40° F (5° C) and above

13.	Roll Size: 36 inches by 67 feet (914mm x 20,420mm), 2 Sq. (20 sm).

2.4 	RELATED MATERIALS

A.	Sealant: High quality, asbestos free plastic roofing cement meeting or exceeding the requirements of ASTM D 4586 Type I.

B.	Titanium UDL50   Fasteners: 3/8 head roofing nail, plastic cap and nail, plastic cap and staple  roofing fasteners with minimum 1 inch (25mm) diameter metal or plastic caps, Miami Dade approved Tin Tags.

CSI PART  3  Execution

3.1 	EXAMINATION

A.	Do not begin installation until substrates have been properly prepared.

B.	If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

3.2 	PREPARATION

A.	Clean surfaces thoroughly prior to installation.

B.	Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

3.3 	INSTALLATION

A.	Follow manufacturer’s current installation guidelines, procedures found in the current version of the National Roofing Contractors Association’s (NRCA) “Steep Slope Roofing and Waterproofing Manual”, and requirements of all code bodies having jurisdiction.  In the event of a conflict in installation requirements, the more stringent method of installation will prevail.

B.	Roof Deck: Starting at the lowest point of the roof section, apply one layer of underlayment horizontally over all sections of roof deck not protected by eave or valley membrane and nail in place.  Lap horizontal edges 2  4 inches (51 101 mm). Overlap ends at least 4  6 inches (102 152 mm); stagger end laps at least 36 inches (915 mm) apart.

C.	Eaves: Place eave edge metal flashing tight with fascia boards; lap joints 2 inches (50 mm) and seal; nail at top of flange.

D.	Valleys: Install a full width of weather barrier centered on valley; lap ends 6 inches (150 mm) and seal.  Where open valley construction is specified, install metal flashing over weather barrier before roof deck underlayment is installed.  Lap underlayment over valley protection at least 6 inches (150 mm).

E.	Vent Pipes and Field Penetrations: Apply a 24 inch (610 mm) square target sheet of weather barrier around the penetration.  Lap over underlayment beneath and at the sides of the penetration and beneath underlayment above the penetration.  Apply sealant to the seam above the penetration.

F.	Sidewalls, Headwalls and Chimneys: Apply weather barrier extending at least 8 inches (203 mm) up the wall and 12 inches (305 mm) on to the roof surface. Lap over roof deck protection.

G.	Hips and Ridges: Apply weather barrier over the length of the hips and ridges.  Where ridge ventilation is specified, remove weather barrier from areas where ventilation slots are required prior to installing ridge vent.

H.	Rake Edges: Apply weather barrier and underlayment prior to installation of any rake edge flashing.  Apply sealant to the edge prior to installation of metal flashing and nail metal edge flashing every 6 inches (152mm).

I.	Skylights: Apply weather  barrier up the sides of the frame and 12 inches (305 mm) on to the roof surface on all sides, Lap over underlayment beneath and at the sides of the skylight and beneath underlayment above the penetration.  Apply sealant to the seam above the skylight.  See skylight manufacturer for any additional installation details.

3.4 	PROTECTION

A.	Protect installed products until completion of project.

B.	Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION